| INTERCONNECTION PROVIDER CAUCUS | FERC ANOPR MODEL | NARUC CAUCUS |
| --- | --- | --- |
| 2.1 Establishment of Point of Interconnection. Interconnection Provider and Interconnection Customer agree to interconnect the Facility, at the location specified in Exhibits A and C [One-line diagram] to this Agreement, in accordance with [this Agreement], the Rules and Good Utility Practices. |  |  |
| 2.2 Limitations of Agreement. This Agreement governs the facilities required to interconnect the Facility to Interconnection Provider’s Electric System and contains the terms and conditions under which Interconnection Customer may interconnect its Facility, as described in Exhibits A and C, to and operate in parallel with Interconnection Provider’s Electric System. This Agreement does not authorize Interconnection Customer to export power or constitute an agreement to purchase or wheel Interconnection Customer’s power. Other services that the Interconnection Customer may require from the Interconnection Provider will be covered under separate agreements and nothing in this Agreement is intended to affect any other agreement between Interconnection Provider and Interconnection Customer. Interconnection Customer shall be responsible for separately making all necessary arrangements (including scheduling) for transmission or distribution system delivery service with the transmission provider, distribution provider, ISO or RTO (as applicable). | 2.0 Attached are Specifications for each generating unit that Interconnection Customer proposes to interconnect to Transmission Owner's Transmission System. Interconnection Customer represents and warrants that, upon completion of the construction of its facilities, it will own or control the generating facilities identified in section 1.0 of the Specifications attached hereto and made a part hereof. In the event that Interconnection Customer will not own the generating facilities, Interconnection Customer represents and warrants that it is authorized by the owners of such generating facilities to enter into this SRIA and to represent such control. 3.0 Interconnection Customer has requested an Small Resource Interconnection Agreement under the Transmission Owner's Open Access Transmission Tariff ("Tariff"), and Transmission Owner has determined that Interconnection Customer is eligible under the Tariff to obtain this SRIA. | 1.0 Scope and Purpose of Agreement This Agreement describes only the conditions under which the Company and the Customer agree that the distributed generating facility or facilities (“DG”) described in Exhibit A may be interconnected to and operated in parallel with the utility company’s system. Other services that the Customer may require from the Company will be covered under separate agreements. The technical terms used in this agreement are defined in Exhibit B. The following exhibits are specifically incorporated into and made a part of this Agreement: Exhibit A: Summary and Description of Interconnection Exhibit B: Technical Definitions (p. 2-18) |
| 2.3 Responsibilities of the Parties. 2.3.1 The Parties shall comply with all Applicable Laws and Regulations and Operating Requirements and perform all obligations in accordance with Good Utility Practices. Each Party shall, at its own cost and expense, operate, maintain, repair, and inspect, and shall be fully responsible for, the facility or facilities which it now or hereafter may own unless otherwise specified in Exhibit A. 2.3.2 Interconnection Customer shall operate and maintain the Facility in accordance with the applicable manufacturer’s recommended maintenance schedule, in compliance with all aspects of the Rules, and in accordance with Good Utility Practices. 2.3.3 Interconnection Provider shall conduct operations on the Interconnection Provider’s Electric System in compliance with all aspects of the Rules and in accordance with Good Utility Practices, or as further described and mutually agreed to in the applicable Facility Schedule. 2.3.4 Interconnection Customer agrees to cause its facilities or systems to be constructed in accordance with applicable specifications equal to or greater than those provided by the National Electrical Safety Code, the American National Standards Institute, IEEE and Underwriter’s Laboratory in effect at the time of construction and other applicable national and state codes and standards. Interconnection Customer covenants and agrees to design, install, maintain, and operate, or cause the design, installation, maintenance, and operation of its Facility so as to reasonably minimize the likelihood of a disturbance, originating on the system or equipment affecting or impairing the system or equipment of the Interconnection Provider, or other Affected Systems. 2.3.5 Interconnection Provider and Interconnection Customer shall each be responsible for the safe installation, maintenance, repair and condition of their respective lines and appurtenances on their respective sides of the Point of Interconnection. The Interconnection Provider and the Interconnection Customer, as appropriate, shall provide Interconnection Facilities that adequately protect the Interconnection Provider’s distribution system, personnel, and other persons from damage and injury. The allocation of responsibility for the design, installation, operation, maintenance and ownership of the Interconnection Facilities shall be delineated in Exhibit A to this Agreement. 2.3.6 Interconnection Customer will be responsible for Interconnection Provider’s reasonable and necessary costs for the purchase, installation, operation, maintenance, repair and replacement of all metering (and data acquisition, as required) equipment reasonably necessary to provide information regarding power flow and voltage conditions at the Point of Interconnection required to maintain the reliability of the Interconnection Provider’s Electric System. Additional metering and data acquisition equipment may be required pursuant to this Agreement in the event additional information necessary for Interconnection Provider’s Electric System reliability is not available from existing metering and data acquisition equipment. Interconnection Customer may, at its option, directly purchase, install, operate, maintain, repair, and replace said metering equipment at the Interconnection Customer’s cost. In such event, Interconnection Customer’s metering (and data acquisition, as required) equipment shall conform to the Rules, Applicable Laws and Regulations, and applicable Operating Requirements. | 7.0 Transmission Owner agrees to provide for the interconnection to the Transmission System in the Transmission Owner Control Area of Interconnection Customer's generation facilities identified in the Specifications in accordance with Part __ of the Tariff, and this SRIA, as they may be amended from time to time. Subject to Transmission Owner obtaining regulatory approval of appropriate provisions of the Tariff, interconnection of Interconnection Customer's generation facilities to the Transmission System under this SRIA may be subject to subsequent execution by the Interconnection Customer of an agreement or agreements with affected RTO(s) or Transmission Owner to establish terms governing matters, such as (but not limited to) construction of facilities, maintenance standards, parallel operation of generating facilities, insurance requirements, indemnification and liabilities, that, in accordance with state laws and good utility practice [as such term is defined in the [Operating Agreement or Tariff]], are ordinarily included in agreements between parties that are physically interconnecting their electric facilities. | 3.0 Responsibilities of Distribution Company and Interconnection Service Customer Each Party will, at its own cost and expense, operate, maintain, repair, and inspect, and shall be fully responsible for, the facility or facilities which it now or hereafter may own or lease unless otherwise specified in Exhibit A. Maintenance of Customer’s DG and interconnection facilities shall be performed in accordance with the applicable manufacturer’s recommended maintenance schedule. The Parties agree to cause their facilities or systems to be constructed in accordance with specifications provided by the National Electrical Safety Code, the National Electric Code, and as approved by the American National Standards Institute, and interconnected in accordance with Institute of Electrical and Electronics Engineers standards where applicable. Company and Customer shall each be responsible for the safe installation, maintenance, repair and condition of their respective lines and appurtenances on their respective sides of the Point Of Common Coupling. The Company or the Customer, as appropriate, shall provide interconnection facilities that adequately protect the Company’s distribution system, personnel, and other persons from damage and injury. The allocation of responsibility for the design, installation, operation, maintenance and ownership of the interconnection Facilities shall be made part of this agreement as Exhibit C. (p.2-20) |
| 2.4 Parallel Operations Obligations. Interconnection Customer shall abide by all rules and procedures pertaining to the parallel operation of the Facility in the applicable Control Area, including, but not limited to, the rules and procedures concerning the dispatch of generation set forth in the Tariff or by the system operator for the Interconnection Provider’s Electric System and the operation requirements set forth in Exhibit D of this Agreement. | 8.0 Interconnection Customer agrees to abide by all rules and procedures pertaining to generation in the Transmission Owner Control Area, including but not limited to the rules and procedures concerning the dispatch of generation set forth in the Operating Agreement and the Tariff. |  |
| 2.5 Metering and Data Acquisition. Interconnection Customer shall be responsible for the Interconnection Provider’s cost for the purchase, installation, operation, maintenance, repair and replacement of all metering (and data acquisition, as required) equipment necessary to provide information regarding power flow and voltage conditions at the Point of Interconnection. Interconnection Customer may, at the option of Interconnection Provider, directly purchase, install, operate, maintain, repair, and replace such metering equipment at the Interconnection Customer’s cost and expense. All metering (and data acquisition, as required) equipment of Interconnection Customer shall conform to Good Utility Practices and Exhibit D of this Agreement. |  |  |
| 3.1 Pre-Parallel Operational Testing and Inspection. 3.1.1 Interconnection Customer is required to perform pre-parallel operational testing and inspection prior to interconnection in accordance with Good Utility Practices. No fewer than three (3) business days prior to such testing and inspection, Interconnection Customer shall provide notice to Interconnection Provider of such testing and inspection. Testing shall occur on a business day. Interconnection Provider may send a qualified person to the Facility site to inspect the interconnection and observe the Facility’s functional testing. Interconnection Customer shall notify Interconnection Provider in writing when such pre-parallel operational testing and inspection is successfully completed. 3.1.2 Upon receipt of notification of successful completion of such pre-parallel operational testing and inspection, Interconnection Provider shall provide to Interconnection Customer written authorization that substantially conforms to Exhibit ____; provided, however, any such written authorization shall not be deemed to or construed as any representation, assurance, guarantee, or warranty by Interconnection Provider of the safety, durability, suitability, or reliability of the Facility or any associated control, protective, and safety devices owned or controlled by Interconnection Customer or the quality of power produced by the Facility. 3.1.3 [Parties disagree as to payment of costs for initial inspection] Interconnection Customer shall be responsible for the costs of any necessary retesting. |  | 4.0 Prior Authorization For the mutual protection of the Customer and the Company, the connections between the Company’s service wires and the Customer’s service entrance conductors shall not be energized without prior authorization of the Company, which authorization shall not be unreasonably withheld. (p.2-21) |
| 3.2 Authorization Required Prior To Parallel Operation. For the mutual protection of the Interconnection Customer and the Interconnection Provider, Interconnection Customer shall not operate its generating facilities in parallel with the Interconnection Provider’s Electric System without prior written authorization of the Interconnection Provider, which authorization shall not be unreasonably withheld, conditioned or delayed. Interconnection Provider will not provide final authorization until Interconnection Provider receives notification that Interconnection Customer has complied with all other applicable requirements. |  |  |
| 3.3 Right of Access. [We’ll come back. Bob and Paulene to address]. |  | 11. Right of Access, Equipment Installation, Removal and Inspection Upon reasonable notice, the Company may send a qualified person to the premises of the Customer at or immediately before the time the DG first produces energy to inspect the interconnection, and observe the DG’s commissioning (including any required testing), startup, and operation for a period of up to no more than three days after initial start-up of the unit. In addition, the customer shall notify the company at least seven days prior to conducting any on-site Verification Testing of the DG. Following the initial inspection process described above, at reasonable hours, and upon reasonable notice, or at any time without notice in the event of an emergency or hazardous condition, Company shall have access to Customer’s premises for any reasonable purpose in connection with the performance of the obligations imposed on it by this Agreement or if necessary to meet its legal obligation to provide service to its customers. (p.2-26) |
| 4.1 Term. This Agreement shall be effective on the Effective Date and shall terminate on such date as mutually agreed upon by the Parties, unless terminated earlier in accordance with (i) Section 4.2 of this Agreement or (ii) the Tariff. | 5.0 This SRIA shall be effective on [DATE], and shall terminate on such date as mutually agreed upon by the parties, unless earlier terminated in accordance with the Tariff. | 13. Effective Term and Termination Rights This Agreement becomes effective when executed by both parties and shall continue in effect until terminated. The agreement may be terminated for the following reasons: (a) Customer may terminate this Agreement at any time, by giving the Company sixty days’ written notice; (b) Company may terminate upon failure by the Customer to generate energy from the Facility in parallel with the Company’s system by the later of two years from the date of this agreement or twelve months after completion of the interconnection; (c) either party may terminate by giving the other party at least sixty days prior written notice that the other Party is in default of any of the material terms and conditions of the Agreement, so long as the notice specifies the basis for termination and there is reasonable opportunity to cure the default; or (d) Company may terminate by giving Customer at least sixty days notice in the event that there is a material change in an applicable rule or statute concerning interconnection and parallel operation of the DG, unless the Customer’s installation is exempted from the change or the Customer complies with the change in a timely manner. Nothing in this provision shall limit the ability of the Company to disconnect the Customer without providing notice as specified herein if necessary to address a hazardous condition. Upon termination of this Agreement the DG will be disconnected from the Company's electric system. The termination of this Agreement shall not relieve either Party of its liabilities and obligations, owed or continuing at the time of the termination. (p. 2-28) |
| 4.2 Termination. This Agreement may be terminated for any of the following reasons: 4.2.1 Interconnection Customer may terminate this Agreement at any time, by giving Interconnection Provider sixty (60) days’ written notice; 4.2.2 Interconnection Provider may terminate upon failure by the Interconnection Customer to generate energy from the Facility in parallel with the Interconnection Provider’s Electric System within twelve (12) months of the Effective Date; 4.2.3 Either Party may terminate by giving the other Party at least thirty (30) days’ prior written notice that the other Party is in default in performance of any of the material terms and conditions of the Agreement, so long as the notice specifies the basis for termination and the Party fails to cure the default on or before the end of the thirty-day period or, if the failure cannot reasonably be cured within such period, within a reasonable period provided the Party undertakes and continues to proceed with the cure on an expeditious basis; or 4.2.4 [In the event that there is a material change in Applicable Laws and Regulations, Interconnection Provider may terminate by giving Interconnection Customer at least thirty (30) days’ notice.] 4.2.5 Interconnection Provider may terminate this Agreement upon thirty (30) days notice if the Interconnection Customer fails to operate the Facility in parallel with Interconnection Provider’s Electric System for two (2) consecutive years.] 4.2.6 [Need an additional provision regarding continuing obligation to make any required payments even if this Agreement is terminated early in accordance with this Section.] |  |  |
| 4.3 Permanent Disconnection. Upon the effective date of any termination under Sections __.1, __.2, or the Tariff, the Parties shall disconnect the Facility from the Interconnection Provider’s Electric System in accordance with Good Utility Practices. |  | 12.0 Disconnection of Unit Customer retains the option to temporarily disconnect from Company’s Company system at any time. Such temporary disconnection shall not be a termination of the Agreement unless Customer exercises its termination rights under Section 13.0. Subject to Commission Rule, for routine maintenance and repairs on Company’s Company system, Company shall provide Customer with seven days’ notice of service interruption. The Company shall have the right to disconnect service to Customer without notice to eliminate conditions that constitute a potential hazard to Company personnel or the general public. The Company shall notify the Customer of the emergency as soon as circumstances permit. The Company may disconnect the DG, after notice to the Customer has been provided and a reasonable time to correct, consistent with the conditions, has elapsed, if the DG adversely affects the quality of service of adjoining customers. (p.2-27) |
| 4.4 Temporary Disconnection. 4.4.1 Emergency Conditions. Interconnection Provider shall have the right to immediately suspend Interconnection Service in cases where, in the judgment of Interconnection Provider, continuance of such service to Interconnection Customer is imminently likely to (i) endanger persons or property or (ii) cause a material adverse effect on the integrity or security of, or damage to, Interconnection Provider’s Electric System or to the electric systems of others to which the Interconnection Provider’s Electric System is directly connected. [Interconnection Provider shall notify Interconnection Customer promptly when it becomes aware of an emergency condition that affects the Facility or the Interconnection Provider’s Electric System that may reasonably be expected to affect Interconnection Customer’s operation of the Facility. Interconnection Customer shall notify Interconnection Provider promptly when it becomes aware of an emergency condition that affects the Facility that may reasonably be expected to affect Interconnection Provider’s Electric System. To the extent information is known, the notification shall describe the emergency condition, the extent of the damage or deficiency, the expected effect on the operation of both Parties’ facilities and operations, its anticipated duration and the necessary corrective action. Modeled after Section 13.3 of Large NOPR] AND [Interconnection Provider may disconnect the Facility when such disconnection is necessary under Good Utility Practices due to emergency conditions. These rights are separate and distinct from any right of curtailment of the Interconnection Provider pursuant to the Tariff. When the Interconnection Provider can schedule the disconnection in advance, Interconnection Provider shall notify Interconnection Customer of the reasons, timing and expected duration of the disconnection. Interconnection Provider shall attempt to schedule such disconnection during non-peak load periods. Any disconnection shall continue only for so long as reasonably necessary under Good Utility Practices. The Parties shall cooperate with each other to restore the Facility and the Interconnection Provider’s Electric System to their normal operating state as soon as practicable consistent with Good Utility Practices. Modeled after Section 13.5.2 of Large NOPR] 4.4.2 Routine Maintenance. Subject to the Rules, Interconnection Provider shall have the right to interrupt Interconnection Service and temporarily disconnect the Facility from the Interconnection Provider’s Electric System for routine maintenance and repairs on the Interconnection Provider’s Electric System. Interconnection Provider shall provide Interconnection Customer with seven (7) business days’ notice prior to such service interruption. 4.4.3 Forced Outages. During any forced outage of Interconnection Provider’s Electric System serving Interconnection Customer, Interconnection Provider shall have the right to suspend Interconnection Service to effect immediate repairs on the Interconnection Provider’s Electric System; provided, however, Interconnection Provider shall use reasonable efforts to provide the Interconnection Customer with prior notice. Where circumstances do not permit such prior notice to Interconnection Customer, Interconnection Provider may interrupt Interconnection Service and disconnect the Facility from the Interconnection Provider’s Electric System without such notice in accordance with Good Utility Practices. 4.4.4 Adverse Operating Effects. Interconnection Provider shall notify Interconnection Customer if there is evidence that the operation of the Facility causes disruption or deterioration of service to other customers served from the same grid or if operation of the Facility causes damage to Interconnection Provider’s Electric System or Affected Systems. Interconnection Customer will notify Interconnection Provider of any emergency or hazardous condition or occurrence with its equipment or facilities which could affect safe operation of the other Party’s equipment or facilities. Each Party shall use reasonable best efforts to provide the other Party with advance notice of such conditions. 4.4.5 Modification of the Facility. Interconnection Provider shall have the right to immediately suspend Interconnection Service in cases where Interconnection Customer has made material modifications to the Facility without written authorization from Interconnection Provider. Such unauthorized Facility modification shall be an event of default pursuant to Sec. __.3 [Termination]. 4.4.6 Re-connection. Interconnection Provider shall reconnect the Facility as soon as reasonably practicable following the cessation or remedy of the event that led to the temporary disconnection. |  |  |
| 5.1 Cost Responsibility. Interconnection Customer shall be responsible for the costs of (i) all equipment and facilities from the Facility to the Point of Interconnection, (ii) any modifications, additions, or upgrades to the Interconnection Provider’s equipment and facilities, including operations and maintenance expenses, that are necessary to interconnect the Facility to the Interconnection Provider’s Electric System, as specified in Exhibit A, Facility Schedule No. ___, and (iii) any modifications, additions, or upgrades by an electric system to which the Interconnection Provider’s Electric System is directly connected that are necessary in order to interconnect the Facility. |  | If, after the DG has been commissioned, the operations of the Company are adversely affecting the performance of the DG or the Customer’s premises, the Company shall immediately take appropriate action to eliminate the adverse effect. If the Company determines that it needs to upgrade or reconfigure its system the Customer will not be responsible for the cost of new or additional equipment on the Company’s side of the Point Of Common Coupling between the Customer and the Company. (p.2-27) |
| 5.2 Interconnection Service Facilities. Interconnection Provider shall design, procure, construct and install the Interconnection Facilities described in Exhibit __ in accordance with Applicable Laws and Regulations and Good Utility Practices. The Interconnection Facilities required to provide Interconnection Service may be comprised of one or more of the following: 5.2.1 Direct Connection Facilities. Direct Connection Facilities shall mean those facilities necessary to physically connect the Facility to a transmission or distribution substation. 5.2.2 Distribution Facility Upgrades. Distribution Facility Upgrades shall mean modifications or additions of facilities to abate any local thermal loading, voltage, short circuit, stability or similar engineering problem caused by the interconnection and delivery of generation to the Interconnection Provider’s Electric System. 5.2.3 Network Facility Upgrades. Network Facility Upgrades shall mean modifications or additions to transmission network-related facilities that are required for the safe and reliable interconnection of the Facility to the Interconnection Provider’s Electric System. | 9.0 In analyzing and preparing the Facilities Study, and in designing and constructing the Attachment Facilities, Local Upgrades and/or Transmission Upgrades described in the Specifications attached to this SRIA, Transmission Owner, the RTO(s), and any other subcontractors employed by Transmission Owner have had to, and shall have to, rely on information provided by Interconnection Customer and possibly by third parties and may not have control over the accuracy of such information. Accordingly, neither Transmission Owner, the RTO(s), nor any other subcontractors employed by Transmission Owner makes any warranties, express or implied, whether arising by operation of law, course of performance or dealing, custom, usage in the trade or profession, or otherwise, including without limitation implied warranties of merchantability and fitness for a particular purpose, with regard to the accuracy, content, or conclusions of the Facilities Study or of the attachment facilities, the local upgrades and/or the transmission upgrades; provided, however, that Transmission Owner warrants that the transmission facilities described in the Specifications will be designed, constructed and operated in accordance with good utility practice. Interconnection Customer acknowledges that it has not relied on any representations or warranties not specifically set forth herein and that no such representations or warranties have formed the basis of its bargain hereunder. |  |
| 5.3 Costs of Interconnection Facilities. Interconnection Customer shall be responsible for and shall pay upon demand all actual and reasonable costs associated with the interconnection of the Facility, as specified in Exhibit __. A description of the specific Interconnection Facilities required and an estimate of the cost of such Interconnection Facilities are included in Section ___of Exhibit __ to this Agreement. The Interconnection Facilities costs shall be determined as follows: 5.3.1 Direct Connection Facilities. Interconnection Customer shall be obligated to pay for one hundred percent (100%) costs of the Direct Connection Facilities. 5.3.2 Distribution Facility Upgrades. Interconnection Customer shall be obligated to pay for one hundred percent (100%) of the costs of the Distribution Facility Upgrades. 5.3.3 Network Facility Upgrades. Interconnection Customer shall be obligated to pay for one hundred percent (100%) of the costs of the Network Facility Upgrades necessary to accommodate the request for Interconnection Service that would not have been incurred but for such request for Interconnection Service. | 10.0 a. Interconnection Customer shall be responsible for and shall pay upon demand all actual and reasonable costs associated with the interconnection of the generation facilities as specified in the Tariff. These costs may include, but are not limited to, an Attachment Facilities Charge, a Local Upgrades Charge, a Network Upgrades Charge and an Other Supporting Facilities Charge, as documented to be necessary and appropriate by a Facilities Study conducted in accordance with the Tariff. A description of the facilities required and an estimate of the cost of these facilities are included in Section 3.0 the Specifications to this SRIA. b. The RTO shall provide Transmission Owner a monthly statement of the RTO's prior month's expenditures for the design, engineering and construction of, and/or for other charges related to, the facilities contemplated by this SRIA. Transmission Owner shall bill Interconnection Customer, on behalf of the RTO, for the RTO's expenditures each month. Interconnection Customer shall pay each bill within 15 days after receipt thereof. Upon receipt of each of Interconnection Customer's payments of such bills, Transmission Owner shall reimburse the RTO. c. Within 45 days after the RTO completes construction and installation of the transmission facilities described in the Specifications, Transmission Owner shall provide Interconnection Customer with an accounting of, and the appropriate party shall make any payment to the other that is necessary to resolve, any difference between (1) Interconnection Customer's responsibility under this SRIA and the Tariff for the actual cost of such facilities, and (2) Interconnection Customer's previous aggregate payments to Transmission Owner and the RTO for such facilities. Notwithstanding the foregoing, however, Transmission Owner shall not be obligated to make any payment that the preceding sentence requires it to make unless and until the RTO has returned to it the portion of Interconnection Customer's previous payments that Transmission Owner owes under that sentence. |  |
| 5.4 Security. On or before the execution date of this Agreement, Interconnection Customer shall provide Interconnection Provider, as security for the Interconnection Facilities costs, a letter of credit from an agreed upon provider or other form of security reasonably acceptable to Interconnection Provider in the amount of $[ ______________] naming Interconnection Provider as a beneficiary. In the event Interconnection Customer fails to provide such security in the amount or form required within thirty (30) days of the effective date of this Agreement, this Agreement shall be terminated. Interconnection Customer acknowledges that it will be responsible for the actual costs of the facilities described in Exhibit __, whether greater or lesser than the amount of the payment security provided under this Section. | 4.0 In accord with Section ______of the Tariff, Interconnection Customer, on or before the effective date of this SRIA, shall provide Transmission Owner with a letter of credit from an agreed provider or other form of security reasonably acceptable to Transmission Owner in the amount of $ [ ______________ ] naming Transmission Owner [and Regional Transmission Organization, if applicable] ("the RTO") as beneficiaries. Should Interconnection Customer fail to provide security in the amount or form required in the first sentence of this section within thirty days of the date of this agreement, this SRIA shall be terminated. Interconnection Customer acknowledges that it will be responsible for the actual costs of the facilities described in the Specifications, whether greater or lesser than the amount of the payment security provided under this section. |  |
| 5.5 Milestones. Interconnection Provider shall relieved of all obligations pursuant to this Agreement in the event Interconnection Customer fails to achieve the following development milestones (such milestones may include fuel delivery agreements, water agreements, rights-of-way for fuel and water interconnections, any necessary local, county, and state site permits, a memoranda of understanding for the acquisition of major equipment, site acquisition, permitting, regulatory certifications (if required), acquisition of any third-party financial commitments, commercial operation and similar events): 5.5.1 5.5.2 5.5.3 5.5.4 Interconnection Customer shall demonstrate the occurrence of each of the foregoing milestones to Interconnection Provider’s reasonable satisfaction. Interconnection Provider may reasonably extend any such milestone dates, in the event of delays that Interconnection Customer (i) did not cause and (ii) could not have remedied through the exercise of due diligence. | 6.0 In addition to the milestones stated in Section ______ of the Tariff, during the term of this SRIA, Interconnection Customer shall ensure that its generation project meets each of the following development milestones: a. b. c. d. Interconnection Customer shall demonstrate the occurrence of each of the foregoing milestones to Transmission Owner's reasonable satisfaction. Transmission Owner may reasonably extend any such milestone dates, in the event of delays that Interconnection Customer (I) did not cause and (ii) could not have remedied through the exercise of due diligence. |  |
| 5.6 Billing and Payment. Billing and payment terms for such costs for which Interconnection Customer is responsible shall be in accordance with the Tariff, or where there is no Tariff, other published billing procedures generally applicable to customers in the relevant rate class. 5.6.1 Normal Billing Procedure. Unless otherwise specified in this Section 5, billing and payment obligations for services rendered under this Agreement shall be performed in accordance with Interconnection Provider’s Tariff, or if the Interconnection Provider does not have a Tariff, in accordance with the Rules. 5.6.2 Billing Procedure for Interconnection Facilities Construction. Interconnection Provider shall bill Interconnection Customer for the monthly expenditures for the design, engineering and construction of, or for other charges related to, the Interconnection Facilities contemplated by this Agreement. Interconnection Customer shall pay each bill within fifteen (15) days after receipt thereof. 5.6.3 Final Accounting. Within forty-five (45) days after the completion of the construction and installation of the Interconnection Facilities described in the Specifications, Interconnection Provider shall provide Interconnection Customer with a final accounting report of any difference between (a) Interconnection Customer’s cost responsibility under this Agreement and the Tariff for the actual cost of such Interconnection Facilities, and (b) Interconnection Customer’s previous aggregate payments to Interconnection Provider for such Interconnection Facilities. To the extent that Interconnection Customer’s cost responsibility under this Agreement exceeds Interconnection Customer’s previous aggregate payments, Interconnection Provider shall invoice Interconnection Customer and Interconnection Customer shall make payment to Interconnection Provider. To the extent that Interconnection Customer’s previous aggregate payments exceed Interconnection Customer’s cost responsibility under this Agreement, Interconnection Provider shall refund to Interconnection Customer an amount equal to the difference within ____ (__) days of the provision of such final accounting report. |  |  |
| 6.1 Limitation of Liability. Neither Party shall be liable to the other Party for consequential, incidental, special, punitive, exemplary or indirect damages, lost profits, other business interruption damages, or other costs including, but not limited to, loss of profits, business interruption, loss of use, loss of revenue, loss by reason of cost of capital, loss of opportunity or loss of goodwill, regardless of whether a claim is based on contract, tort (including negligence), warranty, theory of strict liability or other legal theory and even if it has been advised of the possibility of such damages, by statute, in tort or contract, with respect to any claim, controversy or dispute connected with, relating to, or arising between the Parties under this Agreement. The provisions of this Section 6.1 shall apply regardless of fault and shall survive termination, cancellation, suspension, completion, or expiration of this Agreement. | 20.0 Neither party shall be liable for consequential, incidental, special, punitive, exemplary or indirect damages, lost profits or other business interruption damages, by statute, in tort or contract, under any indemnity provision or otherwise with respect to any claim, controversy or dispute arising under this SRIA. | 6.1 Limitation of Liability Each Party's liability to the other Party for any loss, cost, claim, injury, liability, or expense, including reasonable attorney's fees, relating to or arising from any act or omission in its performance of this agreement, shall be limited to the amount of direct damage actually incurred. In no event shall either Party be liable to the other Party for any indirect, special, consequential, or punitive damages of any kind whatsoever. (p.2-22) |
| 6.2 ( Three separate provisions) Indemnification. Interconnection Customer shall at all times indemnify, defend, and hold harmless Interconnection Provider from and against any and all damages, losses, claims, including claims and actions involving injury to or death of any person or damage to property, demands, suits, recoveries, costs and expenses, court cost, attorney fees, and all other obligations by or to third parties, arising out of or resulting from Interconnection Provider’s performance or non-performance under this Agreement on behalf of the Interconnection Customer, except in cases of negligence or intentional wrongdoing by the indemnifying Party. |  | 6.2 Indemnification a. Notwithstanding Paragraph 6.1 of this Agreement, the Company shall assume all liability for and shall indemnify the Customer for any claims, losses, costs, and expenses of any kind or character to the extent that they result from the Company’s negligence in connection with the design, construction, or operation of its facilities as described on Exhibit A; provided, however, that the Company shall have no obligation to indemnify the Customer for claims brought by claimants who cannot recover directly from the Company. Such indemnity shall include, but is not limited to, financial responsibility for: (a) the Customer’s monetary losses; (b) reasonable costs and expenses of defending an action or claim made by a third person; (c) damages related to the death or injury of a third person; (d) damages to the property of the Customer; (e) damages to the property of a third person; (f) damages for the disruption of the business of a third person. In no event shall the Company be liable for consequential, special, incidental or punitive damages, including, without limitation, loss of profits, loss of revenue, or loss of production. 2-22 The Company does not assume liability for any costs for damages arising from the disruption of the business of the Customer or for the Customer’s costs and expenses of prosecuting or defending an action or claim against the Company. This paragraph does not create a liability on the part of the Company to the Customer or a third person, but requires indemnification where such liability exists. The limitations of liability provided in this paragraph do not apply in cases of gross negligence or intentional wrongdoing. Notwithstanding Paragraph 6.1 of this Agreement, the Customer shall assume all liability for and shall indemnify the Company for any claims, losses, costs, and expenses of any kind or character to the extent that they result from the Customer’s negligence in connection with the design, construction, or operation of its facilities as described on Exhibit A; provided, however, that the Customer shall have no obligation to indemnify the Company for claims brought by claimants who cannot recover directly from the Customer. Such indemnity shall include, but is not limited to, financial responsibility for: (a) the Company’s monetary losses; (b) reasonable costs and expenses of defending an action or claim made by a third person; (c) damages related to the death or injury of a third person; (d) damages to the property of the Company; (e) damages to the property of a third person; (f) damages for the disruption of the business of a third person. In no event shall the Customer be liable for consequential, special, incidental or punitive damages, including, without limitation, loss of profits, loss of revenue, or loss of production. The Customer does not assume liability for any costs for damages arising from the disruption of the business of the Company or for the Company’s costs and expenses of prosecuting or defending an action or claim against the Customer. This paragraph does not create a liability on the part of the Customer to the Company or a third person, but requires indemnification where such liability exists. The limitations of liability provided in this paragraph do not apply in cases of gross negligence or intentional wrongdoing. |
| Section 7 -- Force Majeure. An event of Force Majeure means any act of God, labor disturbance, act of the public enemy, war, insurrection, riot, fire, storm or flood, explosion, breakage or accident to machinery or equipment, any curtailment, order, regulation or restriction imposed by governmental, military or lawfully established civilian authorities, or any other cause beyond a Party’s control. An event of Force Majeure does not include an act of negligence or intentional wrongdoing. Neither Party will be considered in default as to any obligation hereunder if such Party is prevented from fulfilling the obligation due to an event of Force Majeure. However, a Party whose performance under this Agreement is hindered by an event of Force Majeure shall make all reasonable efforts to perform its obligations hereunder. |  | 6.3 Force Majeure If a Force Majeure Event prevents a Party from fulfilling any obligations under this Agreement, such Party will promptly notify the other Party in writing, and will keep the other Party informed on a continuing basis of the scope and duration of the Force Majeure Event. The affected Party will specify in reasonable detail the circumstances of the Force Majeure Event, its expected duration, and the steps that the affected Party is taking to mitigate the effects of the event on its performance. The affected Party will be entitled to suspend or modify its performance of obligations under this Agreement, other than the obligation to make payments then due or becoming due under this Agreement, but only to the extent that the effect of the Force Majeure Event cannot be mitigated by the use of reasonable efforts. The affected Party will use reasonable efforts to resume its performance as soon as possible. (p. 2-24) |
| 8.1 Governing Law, Regulatory Authority and Rules. The validity, interpretation and performance of this Agreement and each of its provisions shall be governed by the laws of the State where the Point of Interconnection is located, without regard to its conflicts of law principles. This Agreement is subject to all Applicable Laws and Regulations [and Operating Requirements]. Each Party expressly reserves the right to seek changes in, appeal, or otherwise contest any laws, orders, rules, or regulations of a Governmental Authority. |  | 14.0 Governing [Law/Regulatory Authority] This Agreement was executed in the State of [name of State] and must in all respects be governed by, interpreted, construed, and enforced in accordance with the laws thereof. This Agreement is subject to, and the parties’ obligations hereunder include, maintaining and operating in full compliance with all valid, applicable federal, State, and local laws or ordinances, and all applicable rules, regulations, orders of, and tariffs approved by, duly constituted regulatory authorities having jurisdiction. (p. 2-29) |
| 8.2 Amendment. This Agreement may be amended upon mutual agreement of the Parties, which amendment will not be effective until reduced to writing, executed by both Parties, and accepted for filing by the Commission. [In addition, each Party retains all rights to seek modification of the Agreement pursuant to Sections 205 and 206 of the Federal Power Act.] | 13.0 This SRIA or any part thereof, may not be amended, modified, assigned, or waived other than by a writing signed by all parties hereto. | 18.0 Amendment and Notification This Agreement can only be amended or modified by a writing signed by both Parties. (p. 2-30) |
| 8.3 Third-Party Beneficiaries. This Agreement is not intended to and does not create rights, remedies, or benefits of any character whatsoever in favor of any persons, corporations, associations, or entities other than the Parties, and the obligations herein assumed are solely for the use and benefit of the Parties, their successors in interest and, where permitted, their assigns. | 11.0 No third party beneficiary rights are created under this SRIA; provided, however, that payment obligations imposed on Interconnection Customer hereunder are agreed and acknowledged to be for the benefit of the RTO actually performing the services associated with the interconnection of the generating facilities and any associated upgrades of other facilities. Interconnection Customer expressly agrees that the company(ies) responsible for such upgrades shall be entitled to take such legal recourse as that entity deems appropriate against Interconnection Customer for the payment of any charges for the upgrades authorized under this SRIA or the Tariff for which Interconnection Customer fails, in whole or in part, to pay as provided in this SRIA, the Tariff and/or the Operating Agreement. | 21.0 No Third Party Beneficiaries This agreement is not intended to and does not create rights, remedies, benefits of any character whatsoever in favor of any persons, corporations, associations, or entities other than the Parties, and the obligations herein assumed are solely for the use and benefit of Parties, their successors in the interest and, where permitted, their assigns. (p. 2-31) |
| 8.4 Non-Waiver. None of the provisions of this Agreement shall be considered waived by a Party unless such waiver is given in writing. The failure of a Party to this agreement to insist, on any occasion, upon strict performance of any provision of this agreement will not be considered to waive the obligations, rights, or duties imposed on the Parties. | 12.0 No waiver by either party of one or more defaults by the other in performance of any of the provisions of this SRIA shall operate or be construed as a waiver of any other or further default or defaults, whether of a like or different character. | 20.0 Non-Waiver None of the provisions of this Agreement shall be considered waived by a Party unless such waiver is given in writing. The failure of a Party to this agreement to insist, on any occasion, upon strict performance of any provision of this agreement will not be considered to waive the obligations, rights, or duties imposed on the Parties. (p. 2-30) |
| 8.5 Successors or Assigns. This Agreement shall be binding upon the Parties, their successors, and assigns. |  | 15. 0 Assignments 15.1 Assignment to Corporate Party At any time during the term, the Customer may assign this Agreement to a corporation or other entity with limited liability, provided that the Customer obtains the consent of the Company. Such consent will not be withheld unless the Company can demonstrate that the corporate entity is not reasonably capable of performing the obligations of the assigning Customer under this Agreement. 15.2 Assignment to Individuals At any time during the term, a Customer may assign this Agreement to another person, other than a corporation or other entity with limited liability, provided that the assignee is the owner, lessee, or is otherwise responsible for the DG. p.2-29. |
| 8.6 Entire Agreement. This Agreement constitutes the entire Agreement between the Parties with regard to the interconnection of the facilities of the Parties at the Points of Interconnection expressly provided for in this Agreement and supersedes all prior agreements or understandings, whether verbal or written. It is expressly acknowledged that the Parties may have other agreements covering other services not expressly provided for herein, which agreements are unaffected by this Agreement. |  | 19.0 Entire Agreement This Agreement constitutes the entire Agreement between the Parties and supersedes all prior agreements or understandings, whether verbal or written. It is expressly acknowledged that the Parties may have other agreements covering other services not expressly provided for herein, which agreements are unaffected by this Agreement. (p. 2-30) |
| 8.7 Notices. Notices given under this Agreement are deemed to have been duly delivered if hand delivered or sent by United States certified mail, return receipt requested, postage prepaid, to: If to Interconnection Provider: ______________________ ______________________ ______________________ ______________________ If to Interconnection Customer: ______________________ ______________________ ______________________ ______________________ The above-listed names, titles, and addresses of either Party may be changed by written notification to the other, notwithstanding Section 11 Interconnection Customer shall further identify an individual (by name or title) who will perform as “Operator in Charge” of the Facility and Interconnection Customer’s portion of the Interconnection Facilities (if any). This individual must be familiar with this Agreement as well as provisions of the Rules and any other agreements or regulations that may apply. Operational communications will be addressed in the Interconnection Provider’s Operating Requirements in Appendix __. | 17.0 Any notice or request made to or by either party regarding this SRIA shall be made to the representative of the other party as indicated below. Transmission Owner TRANSMISSION OWNER. [CONTACT NAME/ADDRESS] Interconnection Customer SMALL GENERATOR [CONTACT NAME/ADDRESS] | 10.0 Notices Any written notice, demand, or request required or authorized in connection with this Agreement ("Notice") shall be deemed properly given if delivered in person or sent by first class mail, postage prepaid, to the person specified below. If to Customer: If to Company: 10.1 Notices A Party may change its address for Notices at any time by providing the other Party Notice of the change in accordance with Section 10.0. (p. 2-25; 2-26) |
| 8.8 Headings. The descriptive headings of the various articles and sections of this Agreement have been inserted for convenience of reference only and are to be afforded no significance in the interpretation or construction of this Agreement. |  |  |
| 8.9 Multiple Counterparts. This Agreement may be executed in two or more counterparts, each of which is deemed an original but all constitute one and the same instrument. |  |  |
| 8.10 Confidential Information. 8.10.1 If a court, government agency or entity with the right, power, and authority to do so, requests or requires either Party, by subpoena, oral deposition, interrogatories, requests for production of documents, administrative order, or otherwise, to disclose Confidential Information, that Party shall provide the other Party with prompt notice of such request(s) or requirement(s) so that the other Party may seek an appropriate protective order or waive compliance with the terms of this Agreement. In the absence of a protective order or waiver the Party shall disclose such Confidential Information which, in the opinion of its counsel, the Party is legally compelled to disclose. Each Party will use reasonable efforts to obtain reliable assurance that confidential treatment will be accorded any Confidential Information so furnished. 8.10.2 Notwithstanding anything in this Section 9.10 to the contrary, if FERC or its staff, during the course of an investigation or otherwise, requests information from one of the Parties that is otherwise required to be maintained in confidence pursuant to this Agreement, the Party shall provide the requested information to the FERC or its staff, within the time provided for in the request for information. In providing the Confidential Information to FERC or its staff, the Party may, consistent with 18 C.F.R. § 388.112, request that the information be treated as confidential and non-public by FERC and its staff and that the information be withheld from public disclosure. The Party shall notify the other Party to this Agreement when it is notified by FERC or its staff that a request for disclosure of, or decision to disclose, Confidential Information has been received, at which time either of the Parties may respond before such Confidential Information is made public, pursuant to 18 C.F.R. § 388.112. |  | 16.0 Confidentiality [Provisions to be worked out between the Parties.] (p.2-30) |
| 8.11 No Partnership. This Agreement shall not be interpreted or construed to create an association, joint venture, agency relationship, or partnership between the Parties or to impose any partnership obligation or partnership liability upon either Party. Neither Party shall have any right, power or authority to enter into any agreement or undertaking for, or act on behalf of, or to act as or be an agent or representative of, or to otherwise bind, the other Party. |  |  |
| 8.12 Assignment. At any time during the term of this Agreement, Interconnection Customer may assign this Agreement to a corporation, an entity with limited liability or an individual (the “Assignee”) to whom Interconnection Customer transfers ownership of the Facility; provided that Interconnection Customer obtains the consent of Interconnection Provider in advance of the assignment. Interconnection Provider’s consent will be based on a determination that the Assignee is financially and technically capable to assume ownership and/or operation of the Facility. The company or individual to which this Agreement is assigned will be responsible for the proper operation and maintenance of the Facility, and must agree in writing to be subject to all provisions of this Agreement. Interconnection Provider may also assign the Agreement to another entity with the written approval of Interconnection Customer. | 14.0 This SRIA shall be binding upon the parties hereto, their heirs, executors, administrators, successors, and assigns. |  |
| 8.13 Insurance. Interconnection Customer shall carry adequate insurance coverage that shall be acceptable to the Interconnection Provider; provided, that the minimum comprehensive/general liability coverage that shall be continuously maintained by the Interconnection Customer during the Term shall be not less than $1,000,000 for each occurrence. In order to meet changed circumstances and/or then-current industry practice, the Interconnection Provider may, upon ninety days prior written notice, require the Interconnection Customer and the Interconnection Customer shall, from time to time, increase the initial insurance coverage limits to amounts which shall be reasonable, based upon commercial availability of such increased limits on commercially reasonable terms for a generation facility comparable to the Facility. |  | 7.0 Insurance The Customer is not required to provide general liability insurance coverage as part of this Agreement, or any other Company requirement. Due to the risk of incurring damages, the [State regulatory commission] may recommend that every distributed generation Customer protect itself with insurance or other suitable financial instrument sufficient to meet its construction, operating and liability responsibilities pursuant to this Agreement. At no time shall the Company require that the Customer negotiate any policy or renewal of any policy covering any liability through a particular insurance company, agent, solicitor, or broker p.2-24 |
| 8.14 Add Representations and Warranties |  |  |
| 8.15 Add Dispute Resolution | 16.0 In the event of a dispute arising between the parties under this SRIA, the dispute shall be submitted for informal resolution assistance to the RTO or ISO, if applicable, and other wise to the Federal Energy Regulatory Commission under the Alternative Dispute Resolution procedures conducted by the staff. If the dispute cannot be settled by such informal means, it shall be submitted for binding arbitration under the rules of the American Arbitration Association. | 17.0 Dispute Resolution Each Party agrees to attempt to resolve all disputes arising hereunder promptly, equitably and in a good faith manner, consistent with applicable State regulatory commission rules regarding resolution of disputes. (p.2-30) |
| 8.16 Add Disclaimer of Warranty |  | 5.0 Warranty Is Neither Expressed Nor Implied Neither by inspection, if any, or non-rejection, nor in any other way, does the Company give any warranty, express or implied, as to the adequacy, safety, or other characteristics of any structures, equipment, wires, appliances or devices owned, installed or maintained by the Customer or leased by the Customer from third parties, including without limitation the DG and any structures, equipment, wires, appliances or devices appurtenant thereto. (p. 2-21) |
| 8.17 Add Taxes |  |  |
| Add definitions: “Affected Systems” - shall mean any electric system that is either directly or indirectly connected to the Interconnection Provider’s Electric System that could be adversely affected by the interconnection and parallel operation of the Facility with the Interconnection Provider’s Electric System. “Agreement” - shall mean this Interconnection and Parallel Operation Agreement by and between Interconnection Provider and Interconnection Customer. “Applicable Laws and Regulations” - shall mean all duly promulgated applicable federal, state and local laws, regulations, rules, ordinances, codes, decrees, judgments, directives, or judicial or administrative orders, permits and other duly authorized actions of any Governmental Authority. “Confidential Information” - Confidential Information shall mean any confidential and/or proprietary information provided by Interconnection Provider or (“Disclosing Party”) to the other party (“Receiving Party”) and which is clearly marked or otherwise designated as “CONFIDENTIAL.” For purposes of this Agreement, all design, operating specifications and metering data provided by Generator shall be deemed confidential regardless of whether it is clearly marked or otherwise designated as such. Except as otherwise provided herein, each Party shall hold in confidence and shall not disclose Confidential Information to any person (except employees, officers, representatives and agents that agree to be bound by this Section 9.10 or FERC’s Standards of Conduct). Confidential Information shall not include information that the Receiving Party can demonstrate: (a) is generally available to the public other than as a result of a disclosure by the Receiving Party; (b) was in the lawful possession of the Receiving Party on a non-confidential basis before receiving it from the Disclosing Party; (c) was supplied to the Receiving Party without restriction by a third party, who, to the knowledge of the Receiving Party, was under no obligation to the Disclosing Party to keep such information confidential; (d) was independently developed by the Receiving Party without reference to Confidential Information of the Disclosing Party; or (e) was disclosed with the prior written approval of the Disclosing Party. “Control Area” - shall mean an electrical system or systems, as certified by NERC or the applicable regional reliability council, as the case may be, and bounded by interconnection metering and telemetry, to which a common automatic generation control scheme is applied in order to (i) match, at all times, power output of the generator(s) within the electrical system and capacity and energy purchased from or sold to entities outside the electrical system to load within the electrical system; (ii) maintain scheduled interchange with other control areas within the limits of Good Utility Practice; (iii) maintain the frequency of the electrical system within reasonable limits in accordance with Good Utility Practice; and (iv) provide sufficient generating capacity and operating reserves in accordance with Good Utility Practice. “Disclosing Party” - shall have the meaning set forth in Section _____. “Effective Date” - shall mean the date on which the Agreement is executed by the Parties subject to acceptance by FERC. “Facility Schedule” - shall mean that certain facility schedule set forth on Exhibit A. “Facility” - shall mean Interconnection Customer’s generating facility or facilities, including all associated interconnection equipment located between the Facility and Point of Interconnection, used to produce electric power up to and including 2MW in the aggregate and required for parallel operation with the Interconnection Provider’s Electric System, as further described in Exhibit A. “FERC” - shall mean the Federal Energy Regulatory Commission and any successor. “Governmental Authority” - shall mean any federal, state, local or other governmental regulatory or administrative agency, court, commission, department, board, or other governmental subdivision, legislature, rulemaking board, tribunal, or other governmental authority having jurisdiction over the Parties, their respective facilities, or the respective services they provide, and exercising or entitled to exercise any administrative, executive, police, or taxing authority or power; provided, however, that such term does not include Interconnection Customer, Interconnection Provider, or any affiliate thereof. “IEEE” - shall mean the Institute of Electrical and Electronics Engineers. “Interconnection Customer” - shall have the meaning ascribed to it in the first paragraph of this Agreement, and its agents or permitted successors and assigns. “Interconnection Facilities” - shall mean all equipment which is constructed, owned, operated, or maintained by or for Interconnection Provider, as such are generally identified and described in Exhibit A, (including without limitation, equipment for connection, switching, transmission, distribution, protective relaying and safety) that, in Interconnection Provider’s reasonable judgment, is required to be installed for the delivery of electric energy onto the Interconnection Provider’s Electric System on behalf of Interconnection Customer. “Interconnection Provider’s Electric System” - shall mean collectively, the entire network of electric transmission and distribution facilities, equipment and other devices owned (in whole or in part) or controlled by Interconnection Provider, or to which Interconnection Provider has a right to use, for the purposes of transmitting, receiving, and distributing electric energy and capacity. “Interconnection Provider” - shall have the meaning ascribed to it in the first paragraph of this Agreement, and its agents or permitted successors and assigns. “Interconnection Service” - shall mean the services provided by Interconnection Provider to Interconnection Customer to safely and reliably interconnect Interconnection Customer’s Facility to the Interconnection Provider’s Electric System and receive electric energy and capacity from the Facility at the Point of Interconnection pursuant to the terms of this Agreement and, if applicable, the Tariff. “NERC” - shall mean the North American Electric Reliability Council or its successor agency assuming or charged with similar responsibilities related to the operation and reliability of the North American interconnected electric transmission grid. “Network Upgrades” - shall mean modification of improvements required for interconnection of Interconnection Customer’s Facility to Interconnection Provider’s Electric System, otherwise not included in “Interconnection Facilities” as described in Exhibit ____. “Operating Requirements” - shall mean any additional operating requirements that may be applicable due to RTO, ISO, control area, transmission service provider, or Interconnection Provider requirements. “Party” or “Parties” - shall mean either Interconnection Provider or Interconnection Customer or both. “Point of Interconnection” - shall mean the point of interconnection of Interconnection Customer’s Facility to the Interconnection Provider’s Electric System as defined in this Agreement. “Receiving Party” - shall have the meaning set forth in Section 8.10.1. “Rules” - shall mean the rules promulgated by FERC relating to the interconnection of small generation systems. “Tariff” - shall mean, if applicable to Interconnection Provider, Interconnection Provider’s tariff for which open access transmission service over, and transmission interconnection to the Interconnection Provider’s Electric System is offered, as filed with FERC, and as amended or supplemented from time to time, or any successor tariff. “Term” - means the duration of this Agreement as specified in Section 3.1. |  | DEFINED TERMS at Exhibit B, 2-33 Company - An electric Company operating a distribution system. |