SIMPLIFIED   OVERVIEW   OF   DG

# INTERCONNECTION  COMPLEXITY

|  | 300 KW OR LESS | 300 KW – 1 MW | OVER 1 MW |
| --- | --- | --- | --- |
| Inverter Systems | Radial - A | Radial - B | Radial – C |
|  | Network <7% - B | Network >7% - D | Network <7% - B | Network >7% - D | Network <7% - C | Network >7% -l D |
| Induction Generators. | Radial – B | Radial - B | Radial – C |
|  | Network <7% - C | Network >7% - D | Network <7% - D | Network >7% - E | Network <7% - D | Network >7% - E |
| Synchronous Generators | Radial – C | Radial – D | Radial - E |
|  | Network <7% - D | Network >7% - E | Network <7% - E | Network >7% - F | Network <7% - F | Network >7% - G |

A = Simplest interconnection;  1-2 weeks at most

## G = Most complex interconnection ; up to 45 business days

## B through F are intermediate levels of effort

DG-TABLE.DOC   JJB   11/11/2002